Request for Bids

Florence Pioneer Park Restroom Facilities

East 3rd Street and North Pikes Peak Avenue

128 East 4th Street

City of Florence, Colorado

ADDENDUM #1

Date of This Addendum:	 September 30, 2025

Purpose:	All ductwork shall be 6” galvanized steel.

No flex duct shall be used.

Changes to Bid Date or Other Conditions:    NONE